## Sheet1
timestamp	adc_vb_f	adc_va_f	adc_vl_f	adc_ic_f	adc_il_f	T_hs	T_batt	T_amb	T_rts	charge_state	array_fault	Vb_f	Vb_ref	Ahc_r	Ahc_t	kWhc	load_state	load_fault	V_lvd	Ahl_r	Ahl_t	hourmeter	Self-diagnostic alarms	dip switch 1	dip switch 2	dip switch 3	dip switch 4	led_state	Power_out	Sweep_Vmp	Sweep_Pmax	Sweep_Voc	Vb_min_daily	Vb_max_daily	Ahc_daily	Ahl_daily	array_fault_daily	load_fault_daily	alarm_daily	vb_min	vb_max
	battery voltage filtered	Array voltage filtered	load current filtered	Charging current filtered	Load current filtered	Heatsink temprature	Battery Temp	Ambient Temp	Probe Temp			Battery voltage slow filter	battery regular reference voltage	Ahc charge resetable	Ah charge total	Kwh charge			load current compensated LVD voltage	Ah load resetable	Ah load total							SOC LED State	Charge output power	Array Vmp foundduring sweep	Array Pmax(output) found duringsweep	Array Voc found during sweep	battery minimum voltage daily	battery max voltage daily	Ah charge daily	Ah load daily				Minimum battery voltage	Maximum battery voltage
1308520711	12.67 V	0.00 V	12.65 V	0.00 A	0.00 A	24 °C	25 °C	25 °C	25 °C	3 NIGHT	No faults	12.67 V	0.00 V	0.00 Ah	0.00 Ah	0.00 kWh	1 LOAD_ON	No faults	11.50 V	0.00 Ah	0.00 Ah	49 h	RTS open:	Switch 1 OFF - Battery Type: Sealed or Flooded	Switch 2 OFF - LVD = 11.50 V LVR = 12.60 V	Switch 3 ON - Auto-Equalize On	Switch 4 ON - MODBUS Protocol	8 YELLOW_LED	0.00 W	0.00 V	0.00 W	0.00 V	12.67 V	12.68 V	0.00 Ah	0.00 Ah	No faults	No faults	RTS open:	10.62 V	25.29 V
1308520716	12.67 V	0.00 V	12.65 V	0.00 A	0.00 A	24 °C	25 °C	25 °C	25 °C	3 NIGHT	No faults	12.67 V	0.00 V	0.00 Ah	0.00 Ah	0.00 kWh	1 LOAD_ON	No faults	11.50 V	0.00 Ah	0.00 Ah	49 h	RTS open:	Switch 1 OFF - Battery Type: Sealed or Flooded	Switch 2 OFF - LVD = 11.50 V LVR = 12.60 V	Switch 3 ON - Auto-Equalize On	Switch 4 ON - MODBUS Protocol	8 YELLOW_LED	0.00 W	0.00 V	0.00 W	0.00 V	12.67 V	12.68 V	0.00 Ah	0.00 Ah	No faults	No faults	RTS open:	10.62 V	25.29 V
1308520721	12.67 V	0.00 V	12.65 V	0.00 A	0.00 A	24 °C	25 °C	25 °C	25 °C	3 NIGHT	No faults	12.67 V	0.00 V	0.00 Ah	0.00 Ah	0.00 kWh	1 LOAD_ON	No faults	11.50 V	0.00 Ah	0.00 Ah	49 h	RTS open:	Switch 1 OFF - Battery Type: Sealed or Flooded	Switch 2 OFF - LVD = 11.50 V LVR = 12.60 V	Switch 3 ON - Auto-Equalize On	Switch 4 ON - MODBUS Protocol	8 YELLOW_LED	0.00 W	0.00 V	0.00 W	0.00 V	12.67 V	12.68 V	0.00 Ah	0.00 Ah	No faults	No faults	RTS open:	10.62 V	25.29 V
1308520726	12.67 V	0.00 V	12.65 V	0.00 A	0.00 A	24 °C	25 °C	25 °C	25 °C	3 NIGHT	No faults	12.67 V	0.00 V	0.00 Ah	0.00 Ah	0.00 kWh	1 LOAD_ON	No faults	11.50 V	0.00 Ah	0.00 Ah	49 h	RTS open:	Switch 1 OFF - Battery Type: Sealed or Flooded	Switch 2 OFF - LVD = 11.50 V LVR = 12.60 V	Switch 3 ON - Auto-Equalize On	Switch 4 ON - MODBUS Protocol	8 YELLOW_LED	0.00 W	0.00 V	0.00 W	0.00 V	12.67 V	12.68 V	0.00 Ah	0.00 Ah	No faults	No faults	RTS open:	10.62 V	25.29 V
1308520732	12.67 V	0.00 V	12.65 V	0.00 A	0.00 A	24 °C	25 °C	25 °C	25 °C	3 NIGHT	No faults	12.67 V	0.00 V	0.00 Ah	0.00 Ah	0.00 kWh	1 LOAD_ON	No faults	11.50 V	0.00 Ah	0.00 Ah	49 h	RTS open:	Switch 1 OFF - Battery Type: Sealed or Flooded	Switch 2 OFF - LVD = 11.50 V LVR = 12.60 V	Switch 3 ON - Auto-Equalize On	Switch 4 ON - MODBUS Protocol	8 YELLOW_LED	0.00 W	0.00 V	0.00 W	0.00 V	12.67 V	12.68 V	0.00 Ah	0.00 Ah	No faults	No faults	RTS open:	10.62 V	25.29 V
1308520737	12.67 V	0.00 V	12.65 V	0.00 A	0.00 A	24 °C	25 °C	25 °C	25 °C	3 NIGHT	No faults	12.67 V	0.00 V	0.00 Ah	0.00 Ah	0.00 kWh	1 LOAD_ON	No faults	11.50 V	0.00 Ah	0.00 Ah	49 h	RTS open:	Switch 1 OFF - Battery Type: Sealed or Flooded	Switch 2 OFF - LVD = 11.50 V LVR = 12.60 V	Switch 3 ON - Auto-Equalize On	Switch 4 ON - MODBUS Protocol	8 YELLOW_LED	0.00 W	0.00 V	0.00 W	0.00 V	12.67 V	12.68 V	0.00 Ah	0.00 Ah	No faults	No faults	RTS open:	10.62 V	25.29 V
1308520742	12.67 V	0.00 V	12.65 V	0.00 A	0.00 A	24 °C	25 °C	25 °C	25 °C	3 NIGHT	No faults	12.67 V	0.00 V	0.00 Ah	0.00 Ah	0.00 kWh	1 LOAD_ON	No faults	11.50 V	0.00 Ah	0.00 Ah	49 h	RTS open:	Switch 1 OFF - Battery Type: Sealed or Flooded	Switch 2 OFF - LVD = 11.50 V LVR = 12.60 V	Switch 3 ON - Auto-Equalize On	Switch 4 ON - MODBUS Protocol	8 YELLOW_LED	0.00 W	0.00 V	0.00 W	0.00 V	12.67 V	12.68 V	0.00 Ah	0.00 Ah	No faults	No faults	RTS open:	10.62 V	25.29 V
1308520747	12.67 V	0.00 V	12.65 V	0.00 A	0.00 A	24 °C	25 °C	25 °C	25 °C	3 NIGHT	No faults	12.67 V	0.00 V	0.00 Ah	0.00 Ah	0.00 kWh	1 LOAD_ON	No faults	11.50 V	0.00 Ah	0.00 Ah	49 h	RTS open:	Switch 1 OFF - Battery Type: Sealed or Flooded	Switch 2 OFF - LVD = 11.50 V LVR = 12.60 V	Switch 3 ON - Auto-Equalize On	Switch 4 ON - MODBUS Protocol	8 YELLOW_LED	0.00 W	0.00 V	0.00 W	0.00 V	12.67 V	12.68 V	0.00 Ah	0.00 Ah	No faults	No faults	RTS open:	10.62 V	25.29 V
1308520753	12.67 V	0.00 V	12.65 V	0.00 A	0.00 A	24 °C	25 °C	25 °C	25 °C	3 NIGHT	No faults	12.67 V	0.00 V	0.00 Ah	0.00 Ah	0.00 kWh	1 LOAD_ON	No faults	11.50 V	0.00 Ah	0.00 Ah	49 h	RTS open:	Switch 1 OFF - Battery Type: Sealed or Flooded	Switch 2 OFF - LVD = 11.50 V LVR = 12.60 V	Switch 3 ON - Auto-Equalize On	Switch 4 ON - MODBUS Protocol	8 YELLOW_LED	0.00 W	0.00 V	0.00 W	0.00 V	12.67 V	12.68 V	0.00 Ah	0.00 Ah	No faults	No faults	RTS open:	10.62 V	25.29 V
1308520758	12.67 V	0.00 V	12.65 V	0.00 A	0.00 A	24 °C	25 °C	25 °C	25 °C	3 NIGHT	No faults	12.67 V	0.00 V	0.00 Ah	0.00 Ah	0.00 kWh	1 LOAD_ON	No faults	11.50 V	0.00 Ah	0.00 Ah	49 h	RTS open:	Switch 1 OFF - Battery Type: Sealed or Flooded	Switch 2 OFF - LVD = 11.50 V LVR = 12.60 V	Switch 3 ON - Auto-Equalize On	Switch 4 ON - MODBUS Protocol	8 YELLOW_LED	0.00 W	0.00 V	0.00 W	0.00 V	12.67 V	12.68 V	0.00 Ah	0.00 Ah	No faults	No faults	RTS open:	10.62 V	25.29 V
1308520763	12.67 V	0.00 V	12.65 V	0.00 A	0.00 A	24 °C	25 °C	25 °C	25 °C	3 NIGHT	No faults	12.67 V	0.00 V	0.00 Ah	0.00 Ah	0.00 kWh	1 LOAD_ON	No faults	11.50 V	0.00 Ah	0.00 Ah	49 h	RTS open:	Switch 1 OFF - Battery Type: Sealed or Flooded	Switch 2 OFF - LVD = 11.50 V LVR = 12.60 V	Switch 3 ON - Auto-Equalize On	Switch 4 ON - MODBUS Protocol	8 YELLOW_LED	0.00 W	0.00 V	0.00 W	0.00 V	12.67 V	12.68 V	0.00 Ah	0.00 Ah	No faults	No faults	RTS open:	10.62 V	25.29 V
1308520768	12.67 V	0.00 V	12.65 V	0.00 A	0.00 A	24 °C	25 °C	25 °C	25 °C	3 NIGHT	No faults	12.67 V	0.00 V	0.00 Ah	0.00 Ah	0.00 kWh	1 LOAD_ON	No faults	11.50 V	0.00 Ah	0.00 Ah	49 h	RTS open:	Switch 1 OFF - Battery Type: Sealed or Flooded	Switch 2 OFF - LVD = 11.50 V LVR = 12.60 V	Switch 3 ON - Auto-Equalize On	Switch 4 ON - MODBUS Protocol	8 YELLOW_LED	0.00 W	0.00 V	0.00 W	0.00 V	12.67 V	12.68 V	0.00 Ah	0.00 Ah	No faults	No faults	RTS open:	10.62 V	25.29 V
1308520774	12.67 V	0.00 V	12.65 V	0.00 A	0.00 A	24 °C	25 °C	25 °C	25 °C	3 NIGHT	No faults	12.67 V	0.00 V	0.00 Ah	0.00 Ah	0.00 kWh	1 LOAD_ON	No faults	11.50 V	0.00 Ah	0.00 Ah	49 h	RTS open:	Switch 1 OFF - Battery Type: Sealed or Flooded	Switch 2 OFF - LVD = 11.50 V LVR = 12.60 V	Switch 3 ON - Auto-Equalize On	Switch 4 ON - MODBUS Protocol	8 YELLOW_LED	0.00 W	0.00 V	0.00 W	0.00 V	12.67 V	12.68 V	0.00 Ah	0.00 Ah	No faults	No faults	RTS open:	10.62 V	25.29 V
1308520779	12.67 V	0.00 V	12.65 V	0.00 A	0.00 A	24 °C	25 °C	25 °C	25 °C	3 NIGHT	No faults	12.67 V	0.00 V	0.00 Ah	0.00 Ah	0.00 kWh	1 LOAD_ON	No faults	11.50 V	0.00 Ah	0.00 Ah	49 h	RTS open:	Switch 1 OFF - Battery Type: Sealed or Flooded	Switch 2 OFF - LVD = 11.50 V LVR = 12.60 V	Switch 3 ON - Auto-Equalize On	Switch 4 ON - MODBUS Protocol	8 YELLOW_LED	0.00 W	0.00 V	0.00 W	0.00 V	12.67 V	12.68 V	0.00 Ah	0.00 Ah	No faults	No faults	RTS open:	10.62 V	25.29 V
1308520784	12.67 V	0.00 V	12.65 V	0.00 A	0.00 A	24 °C	25 °C	25 °C	25 °C	3 NIGHT	No faults	12.67 V	0.00 V	0.00 Ah	0.00 Ah	0.00 kWh	1 LOAD_ON	No faults	11.50 V	0.00 Ah	0.00 Ah	49 h	RTS open:	Switch 1 OFF - Battery Type: Sealed or Flooded	Switch 2 OFF - LVD = 11.50 V LVR = 12.60 V	Switch 3 ON - Auto-Equalize On	Switch 4 ON - MODBUS Protocol	8 YELLOW_LED	0.00 W	0.00 V	0.00 W	0.00 V	12.67 V	12.68 V	0.00 Ah	0.00 Ah	No faults	No faults	RTS open:	10.62 V	25.29 V
1308520789	12.67 V	0.00 V	12.65 V	0.00 A	0.00 A	24 °C	25 °C	25 °C	25 °C	3 NIGHT	No faults	12.67 V	0.00 V	0.00 Ah	0.00 Ah	0.00 kWh	1 LOAD_ON	No faults	11.50 V	0.00 Ah	0.00 Ah	49 h	RTS open:	Switch 1 OFF - Battery Type: Sealed or Flooded	Switch 2 OFF - LVD = 11.50 V LVR = 12.60 V	Switch 3 ON - Auto-Equalize On	Switch 4 ON - MODBUS Protocol	8 YELLOW_LED	0.00 W	0.00 V	0.00 W	0.00 V	12.67 V	12.68 V	0.00 Ah	0.00 Ah	No faults	No faults	RTS open:	10.62 V	25.29 V
1308520795	12.67 V	0.00 V	12.65 V	0.00 A	0.00 A	24 °C	25 °C	25 °C	25 °C	3 NIGHT	No faults	12.67 V	0.00 V	0.00 Ah	0.00 Ah	0.00 kWh	1 LOAD_ON	No faults	11.50 V	0.00 Ah	0.00 Ah	49 h	RTS open:	Switch 1 OFF - Battery Type: Sealed or Flooded	Switch 2 OFF - LVD = 11.50 V LVR = 12.60 V	Switch 3 ON - Auto-Equalize On	Switch 4 ON - MODBUS Protocol	8 YELLOW_LED	0.00 W	0.00 V	0.00 W	0.00 V	12.67 V	12.68 V	0.00 Ah	0.00 Ah	No faults	No faults	RTS open:	10.62 V	25.29 V
1308520800	12.67 V	0.00 V	12.65 V	0.00 A	0.00 A	24 °C	25 °C	25 °C	25 °C	3 NIGHT	No faults	12.67 V	0.00 V	0.00 Ah	0.00 Ah	0.00 kWh	1 LOAD_ON	No faults	11.50 V	0.00 Ah	0.00 Ah	49 h	RTS open:	Switch 1 OFF - Battery Type: Sealed or Flooded	Switch 2 OFF - LVD = 11.50 V LVR = 12.60 V	Switch 3 ON - Auto-Equalize On	Switch 4 ON - MODBUS Protocol	8 YELLOW_LED	0.00 W	0.00 V	0.00 W	0.00 V	12.67 V	12.68 V	0.00 Ah	0.00 Ah	No faults	No faults	RTS open:	10.62 V	25.29 V
1308520805	12.67 V	0.00 V	12.65 V	0.00 A	0.00 A	24 °C	25 °C	25 °C	25 °C	3 NIGHT	No faults	12.67 V	0.00 V	0.00 Ah	0.00 Ah	0.00 kWh	1 LOAD_ON	No faults	11.50 V	0.00 Ah	0.00 Ah	49 h	RTS open:	Switch 1 OFF - Battery Type: Sealed or Flooded	Switch 2 OFF - LVD = 11.50 V LVR = 12.60 V	Switch 3 ON - Auto-Equalize On	Switch 4 ON - MODBUS Protocol	8 YELLOW_LED	0.00 W	0.00 V	0.00 W	0.00 V	12.67 V	12.68 V	0.00 Ah	0.00 Ah	No faults	No faults	RTS open:	10.62 V	25.29 V
1308520810	12.67 V	0.00 V	12.65 V	0.00 A	0.00 A	24 °C	25 °C	25 °C	25 °C	3 NIGHT	No faults	12.67 V	0.00 V	0.00 Ah	0.00 Ah	0.00 kWh	1 LOAD_ON	No faults	11.50 V	0.00 Ah	0.00 Ah	49 h	RTS open:	Switch 1 OFF - Battery Type: Sealed or Flooded	Switch 2 OFF - LVD = 11.50 V LVR = 12.60 V	Switch 3 ON - Auto-Equalize On	Switch 4 ON - MODBUS Protocol	8 YELLOW_LED	0.00 W	0.00 V	0.00 W	0.00 V	12.67 V	12.68 V	0.00 Ah	0.00 Ah	No faults	No faults	RTS open:	10.62 V	25.29 V